## Sheet1
Genesis Flow Optimizer Precipitation Calculation Programming Sheet
Blue | = User defined data that can be changed.
Red | = Formula that must not be changed by the user.
For Triangular of Square Spacing:
|  | Precip. Model #1 | Precip. Model #2 | Precip. Model #3 | Precip. Model #4
Sprinkler Application: |  | Greens | Greens In | Greens Out | Tees
Sprinkler Flow (GPM) |  | 53 | 54 | 54 | 18
Uniformity Factor (%) |  | 90 | 80 | 80 | 95
Lateral Spacing (FT) |  | 80 | 80 | 80 | 60
Row Spacing (FT) |  | 80 | 80 | 80 | 60
Precip. Rate In/Hr |  | 0.71774 | 0.65002 | 0.65002 | 0.45743
|  | Precip. Model #5 | Precip. Model #6 | Precip. Model #7 | Precip. Model #8
Sprinkler Application: |  | Fairways | Roughs | Collars | Other
Sprinkler Flow (GPM) |  | 54 | 0 | 0 | 0
Uniformity Factor (%) |  | 85 | 0 | 0 | 0
Lateral Spacing (FT) |  | 80 | 0 | 0 | 0
Row Spacing (FT) |  | 80 | 0 | 0 | 0
Precip. Rate In/Hr |  | 0.69065 | #DIV/0! | #DIV/0! | #DIV/0!
For Single Row Spacing With Full Circle Sprinklers:
|  | Precip. Model #1 | Precip. Model #2 | Precip. Model #3 | Precip. Model #4
Sprinkler Application: |  | Greens | Greens In | Greens Out | Tees
Sprinkler Flow (GPM) |  | 26 | 54 | 0 | 0
Uniformity Factor (%) |  | 90 | 80 | 0 | 0
Sprinkler Spacing (FT) |  | 70 | 80 | 0 | 0
Sprklr Diameter (FT) |  | 140 | 170 | 0 | 0
Precip. Rate In/Hr |  | 0.28743 | 0.38237 | #DIV/0! | #DIV/0!
|  | Precip. Model #5 | Precip. Model #6 | Precip. Model #7 | Precip. Model #8
Sprinkler Application: |  | Fairways | Roughs | Collars | Other
Sprinkler Flow (GPM) |  | 26 | 53 | 0 | 0
Uniformity Factor (%) |  | 85 | 85 | 0 | 0
Sprinkler Spacing (FT) |  | 71 | 85 | 0 | 0
Sprklr Diameter (FT) |  | 142 | 170 | 0 | 0
Precip. Rate In/Hr |  | 0.26387 | 0.37529 | #DIV/0! | #DIV/0!