Genesis Flow Optimizer Field Controller Programming Sheet

# Address/ FC___4__ Location ___Behind #3 Tee______ Controller Priority______

| Station Number | Precip Rate | Program Number | Start Number | Run Time | Spklr. GPM | Water Source | Priority Number | Pipe Block Numbers Used |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 / 31 | 0.46 | 2 | 1 | 15 | 18 | 1 |  | 2, 1 |
| 2 / 32 | 0.46 | 2 | 1 | 15 | 18 | 1 |  | 10, 2, 1 |
| 3 / 33 | 0.46 | 2 | 1 | 15 | 18 | 1 |  | 2, 1 |
| 4 / 34 | 0.69 | 3 | 1 | 10 | 108 | 1 |  | 5, 2, 1 |
| 5 / 35 | 0.69 | 3 | 1 | 10 | 108 | 1 |  | 2, 1 |
| 6 / 36 | 0.69 | 3 | 1 | 10 | 108 | 1 |  | 3, 1 |
| 7 / 37 | 0.69 | 3 | 1 | 10 | 108 | 1 |  | 3, 1 |
| 8 / 38 | 0.50 | 1 | 1 | 12 | 26 | 1 | 1 | 6, 3, 1 |
| 9 / 39 | 0.50 | 1 | 1 | 12 | 26 | 1 | 1 | 6, 3, 1 |
| 10 / 40 | 0.50 | 1 | 1 | 12 | 26 | 1 | 1 | 6, 3, 1 |
| 11 / 41 | 0.50 | 1 | 1 | 12 | 26 | 1 | 1 | 6, 3, 1 |
| 12 / 42 | 0.46 | 2 | 2 | 15 | 18 | 1 |  | 5, 3, 1 |
| 13 / 43 | 0.46 | 2 | 2 | 15 | 18 | 1 |  | 5, 3, 1 |
| 14 / 44 | 0.46 | 2 | 2 | 15 | 18 | 1 |  | 5, 3, 1 |
| 15 / 45 | 0.69 | 3 | 2 | 10 | 108 | 1 |  | 9, 2, 1 |
| 16 / 46 | 0.69 | 3 | 2 | 10 | 108 | 1 |  | 9, 2, 1 |
| 17 / 47 | 0.50 | 1 | 2 | 12 | 26 | 1 | 1 | 11, 2, 1 |
| 18 / 48 | 0.50 | 1 | 2 | 12 | 26 | 1 | 1 | 11, 2, 1 |
| 19 / 49 | 0.50 | 1 | 2 | 12 | 26 | 1 | 1 | 11, 2, 1 |
| 20 / 50 | 0.50 | 1 | 2 | 12 | 26 | 1 | 1 | 11, 2, 1 |
| 21 / 51 | 0.38 | 4 | 1 | 20 | 54 | 1 |  | 2, 1 |
| 22 / 52 | 0.38 | 4 | 1 | 20 | 54 | 1 |  | 10, 2, 1 |
| 23 / 53 |  |  |  |  |  |  |  |  |
| 24 / 54 |  |  |  |  |  |  |  |  |
| 25 / 55 |  |  |  |  |  |  |  |  |
| 26 / 56 |  |  |  |  |  |  |  |  |
| 27 / 57 |  |  |  |  |  |  |  |  |
| 28 / 58 |  |  |  |  |  |  |  |  |
| 29 / 59 |  |  |  |  |  |  |  |  |
| 30 / 60 |  |  |  |  |  |  |  |  |

Genesis Flow Optimizer Pipe Block Programming Sheet

| Pipe Block # | Pipe Size Inches | Flow GPM | Pipe Block Location Description | Water Source # |
| --- | --- | --- | --- | --- |
| 1 | 6 | 450 | ### Pump Station Main | 1 |
| 2 | 4 | 200 | #8 FWY Main & #3Tee & FWY | 1 |
| 3 | 6 | 450 | #3 Green, #4 Main | 1 |
| 4 | 4 | 200 | #3 Tee & Main | 1 |
| 5 | 2 | 55 | #4 Tee | 1 |
| 6 | 2.5 | 85 | #3 Green Loop | 1 |
| 7 | 2.5 | 85 | #4 Green Loop | 1 |
| 8 | 3 | 120 | #8 Fairway | 1 |
| 9 | 3 | 120 | #8 Approach | 1 |
| 10 | 2 | 55 | #8 Collar & #3 Tee | 1 |
| 11 | 2.5 | 85 | #8 Green Loop | 1 |

Genesis Flow Optimizer Water Source and Pump Station

Programming Sheet

## Water Source Configuration

| Water Source | Water Source Description | Start Time | AM | PM | Stop Time | AM | PM |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Main Lake | 09:00 |  | X | 06:00 | X |  |
| 2 |  | : |  |  | : |  |  |
| 3 |  | : |  |  | : |  |  |
| 4 |  | : |  |  | : |  |  |
| 5 |  | : |  |  | : |  |  |
| 6 |  | : |  |  | : |  |  |
| 7 |  | : |  |  | : |  |  |
| 8 |  | : |  |  | : |  |  |
| 9 |  | : |  |  | : |  |  |
| 10 |  | : |  |  | : |  |  |

## Pump Station Configuration

| Pump Number | Pump Description | Minimum GPM | Maximum GPM | Optimum GPM | Staging Delay | Water Source |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 40 HP | 40 | 250 | 225 | 0 | 1 |
| 2 | 40 HP | 40 | 250 | 225 | 3 | 1 |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |

Genesis Flow Optimizer Precipitation Calculation

Programming Sheet

Precipitation Rates –This information is required when Et values are to be used to determine the station run times, or when the stations will be programmed using application amounts of water.  Precipitation Rates are expressed in inches of water per hour (in./hr.).

A precipitation rate is the rate at which the individual controller station applies water.  The value for each station can be obtained from the system designer, or can be approximated using the following typical formulas:

For triangular or square spacing:	 96.3  X  sprinkler GPM  X  uniformity factor

lateral spacing (ft)  X  row spacing (ft)

For single row spacing with full circle sprinklers: 	96.3  X  sprinkler GPM  X  uniformity factor

spacing (ft)  X  0.8  X  sprinkler diameter (ft)

Note:	96.3 = Constant

The uniformity factor for both equations is typically 80 to 95%.

0.8 = Constant

| Precipitation Model | Sprinkler Application / Type | Precipitation Rate in Inches / Hour |
| --- | --- | --- |
| 1 | #### Greens, 26GPM, 65’x65’ | 0.50 |
| 2 | Tees, 18GPM, 60’x60’ | 0.46 |
| 3 | Fairways, 54GPM, 80’x80’ | 0.69 |
| 4 | Rough, 54GPM, 80’x184’ Dia. | 0.38 |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8 |  |  |
| 9 |  |  |
| 10 |  |  |

Calculations: