## Slide 1: Tools

## Slide 2
T
O
O
L
S
Fluke 117 Voltmeter
Extech Clamp On mA meter
Armada Clamp On mA meter
ICD-HP
24Vac/60Hz power source
Test decoder/solenoid
Armada Wire Tracker
Armada Ground Fault Locator
Ground Tester
Notes: A list of tools that will help in troubleshooting different types of faults. Each one is described in the next slides. Mention that these are recommendations only, and highlight the required ranges of them for equivalent brands.

## Slide 3
FLUKE 117 Voltmeter

## Slide 4
Extech 380942

## Slide 5
Armada Pro93

## Slide 6
Hunter ICD-HP Features
Decoder Programming
Decoder Firmware
Diagnostics
Station Test
Clik/Flow Sensor Test
Volt / Amp Meter
Hunter ICD-HP

## Slide 7
24Vac, 60Hz power source

## Slide 8
Test Decoder/solenoid

## Slide 9
Pro300 Tracker

## Slide 10
GFL3000 Ground Fault Locator

## Slide 11
Extech 382153 Ground Tester